## Slide 1: System-Level Modeling and Simulation of the Cell Culture Microfluidic Biochip ProCell
Wajid Hassan Minhass†, Paul Pop†, Jan Madsen†
Mette Hemmingsen‡, Martin Dufva‡
†Department of Informatics and Mathematical Modeling
‡Department of Micro- and Nanotechnology
Technical University of Denmark

## Slide 2: Microfluidic Biochips

## Slide 3: Microfluidic Biochips
http://groups.csail.mit.edu/cag/biostream/
Advantages
  Cost Efficient
  High Throughput
  Automated
  Higher Precision and Speed
Micro-components
  Channels
  Valves
  Chambers

## Slide 4: Microfluidic Biochips
Applications
  Clinical Diagnostics
  DNA Sequencing
  Protein Analysis
  Molecular Biology
  Cell Culturing

## Slide 5: ProCell – Programmable Cell Culture Chip
“A microfluidic device built for culturing and monitoring living cells in real-time”
Real-time feedback provides ground breaking technology for cell
studies by introducing conditional experiments

## Slide 6: ProCell - Operation
(i) Cell Placement
Laminar Flow:
Parallel flow of liquids in layers without any inter-layer disruption

## Slide 7: ProCell - Operation
(i) Cell Placement (ii) Compound Perfusion

## Slide 8: BioChip Architecture Model
8x8 Matrix
Each row represents a chamber
Each element in a row represents an experiment

## Slide 9: BioChip Architecture Model
Experiment
  Exposure of a cell colony to a sequence of compounds
  Response monitoring
Resources
  Time – Weeks
  Cost – Highly expensive reagents

## Slide 10: Fault Model
Fault types
  Air bubbles
  Cell adhesion faults
  Overstressed cells

## Slide 11: Qualitative Fault Evaluation
Cell Colony Properties
  Negative Control (C-)
  Positive Control (C+)
  Communicator colonies
  High Priority
  Low Priority

## Slide 12: Qualitative Fault Evaluation
Failure Grade Assignment
Failure Grade | Description
PL | Partial Failure (Low Priority)
PH | Partial Failure (High Priority)
CC | Complete Chamber Failure
FC | Full Chip Failure

## Slide 13: Qualitative Fault Evaluation
Failure Index
Failure Index Contribution
Success Metric

## Slide 14: ProCell - Architecture
  Virtual Chambers Isolated Chambers
Types of chambers

## Slide 15: Outline
  ProCell Description and Operation
  Biochip Architecture Model
  Comprehensive Fault Model
  Redundancy Schemes
  Simulation Framework
  Experimental Results

## Slide 16: Redundancy Schemes
Control Redundancy
Notes: Say how simulation is done (Pb Formulation)

## Slide 17: Redundancy Schemes
Control Redundancy
Notes: Say how simulation is done (Pb Formulation)

## Slide 18: Redundancy Schemes
Control Redundancy
Placement Redundancy
Notes: Say how simulation is done (Pb Formulation)

## Slide 19: Redundancy Schemes
Control Redundancy
Placement Redundancy
Notes: Say how simulation is done (Pb Formulation)

## Slide 20: Simulation Framework
Notes: Say how simulation is done (Pb Formulation)

## Slide 21: Experimental Results
Fault Rate | Placement P2 | Placement P3
8 Isolated chambers |  | 
(10,5,5) | 54.19 | 58.53
(20,5,5) | 36.72 | 41.26
8 virtual chambers (Max air bubble radius = 3 chambers) |  | 
(10,5,5) | 43.15 | 48.02
(20,5,5) | 21.58 | 25.66
8 virtual chambers (Max air bubble radius = 5 chambers) |  | 
(10,5,5) | 34.96 | 39.96
(20,5,5) | 13.93 | 17.52
Control Redundancy Results

## Slide 22: Experimental Results
Isolated Chambers
Virtual Chambers
Placement Redundancy Results

## Slide 23: Conclusions
  Biochip Architecture Model
  Comprehensive Fault Model (modeling permanent faults)
  Simulation Framework for architectural-level qualitative biochip performance evaluation for
      Isolated Chamber vs Virtual Chamber
      Control and Placement redundancy
  Aids designer to determine
    proper type of chamber
    proper type and level of redundancy
    to maximize the success rate of an experiment