## Slide 1: Compilation and Synthesis for Fault-Tolerant Digital Microfluidic Biochips
Mirela Alistar

## Slide 2: Biochips
Can run biochemical applications
  In-vitro diagnostics
  Drug discovery
  Biotech
  Ecology
Digital microfluidic biochip

## Slide 3: Motivation for biochips
*This slide was created by prof. K. Chakrabarty, Duke University. Used with permission.
Automation
Integration
Miniaturization
Automation
Integration
Miniaturization
Automation
Integration
Miniaturization
✔
✔
✔
✔
✔
Note: show a continuous flow biochip

## Slide 4: Digital Microfluidic Biochip (DMB) example
Moving droplets -> Biochemical application

## Slide 5: Electrowetting on dielectric

## Slide 6: Biochip architecture model

## Slide 7: Biochemical application model
In-vitro diagnostics application

## Slide 8: Design methodology
Architecture design
  The architecture of the biochip is decided
  assuming maximum k permanent faults
  The biochip is fabricated
  The biochip is tested for permanent faults
  If more faults than k, then the biochip
  is discarded
  If application does not complete within deadline, then the biochip is discarded
  The application is executed on the biochip
  The DMB is discarded or stored
  if the results are needed later
Biochip fabrication
Biochip testing
Application compilation
Operation
Disposal

## Slide 9: Motivation: faults
Dielectric breakdown [1]
Insulator degradation [2]
Unbalanced split [3]
[1] Hu et. al, Fault detection, real-time error recovery, and experimental demonstration for DMBs
[2] Su et. al, Ensuring the operational health of droplet-based microelectrofluidic biosensor systems
[3] R.B. Fair, University Lecture on Biochip Engineering
Permanent faults
Transient faults
Application failure
It is imperative to develop fault-tolerant strategies.

## Slide 10: Outline
Background and motivation
System models
Compilation for error recovery
  Problem formulation and example
  Redundancy Optimization Strategy
  Experimental results
Synthesis of application-specific architectures
  Problem formulation and example
  Tabu-Search synthesis strategy
  Fault-tolerant architecture evaluation
  Experimental results
Contributions
Conclusions

## Slide 11: Online compilation for error recovery
Transient faults?

## Slide 12: Error propagation model
[4] Zhao et. al Integrated control-path design and error recovery in the synthesis of digital microfluidic lab-on-chip
8%
8%
11.4%
8%
17.4%
Threshold ≤
Error propagation model [4]
Detection
0%

## Slide 13: Time vs. Space redundancy
Time redundancy
  The recovery operations are executed after the error is detected
  In case of no error, no delays are introduced
  In case of error, the recovery time delays the execution of the application
Space redundancy
  The recovery operations are executed before the error is detected
  In case of error, the recovery time is minimized
  In case of no error, it may delay the execution of regular operations
Recovery subgraph

## Slide 14: Time redundancy graph model
Next
operation

## Slide 15: Space redundancy graph model
Next
operation

## Slide 16: Problem formulation
Given
  Biochip architecture
  Biochemical application (deadline)
  Module library containing the area and execution time for each operation
Determine
  Online the necessary recovery actions
  Such that
    The number of tolerated faults is maximized
    The application deadline is satisfied

## Slide 17: Motivational example
Biochip architecture
Placement of modules on biochip
Application graph
Application graph with detection operations
Binding and schedule of operations
Allocation of modules

## Slide 18: Motivational example
Scenario | Detected by | (a) Only Time redundancy | (b) Only Space redundancy | (c) Time in D6 Space in D8 | (d) Time in D8 Space in D6
1 | No faults | 18 | 18 | 18 | 18
2 | {D6} | 36 | 26 | 30 | 22
3 | {D8} | 28 | 24 | 23 | 23
4 | {D6, D8} | 46 | 36 | 30 | 25
Deadline: 25 s
A combination of time and space redundancy is the best solution
Schedule of operations for case 3a

## Slide 19: Online Recovery Strategy
Redundancy assignment
Compilation
Recovery
Redundancy Optimization Strategy
Compilation

## Slide 20: Online error recovery strategy
Redundancy assignment
Compilation
Recovery
Redundancy Optimization Strategy
Compilation
Redundancy assignment
Compilation
Redundancy Optimization Strategy (ROS)
  Determine the detection operations
  Prioritize the detection operations
  Assign space redundancy
  Assign time redundancy
Redundancy Optimization Strategy

## Slide 21: Online error recovery strategy
Redundancy assignment
Compilation
Recovery
Redundancy Optimization Strategy
Compilation
Redundancy Optimization Strategy
Compilation

## Slide 22: ROS example
Redundancy assignment
Compilation
Recovery
Redundancy Optimization Strategy
Compilation
Redundancy assignment
Compilation
Redundancy Optimization Strategy
Compilation
Redundancy assignment
Compilation
Recovery
Redundancy Optimization Strategy
Compilation
Recovery

## Slide 23: Experimental results
ROS results for q = 1, 2 and 3 faults
App. (ops.) | Deadline (s) | Arch. | Time (s) q = 1 | Time (s) q = 2 | Time (s) q = 3
PDNA (19) | 60 | 7x7 | 37.25 | 37.25 | 37.4
IDP (71) | 200 | 9x9 | 166.63 | 177.61 | 182.66
CPA (103) | 300 | 11x11 | 219.78 | 219.93 | 244.95
PDNA Interpolation for plasmid DNA
IDP Interpolation dilution of a protein
CPA Colorimetric protein assay
ROS can tolerate faults within the deadline

## Slide 24: Contributions
Compilation for error recovery
  Offline compilation
    Fault-tolerant compilation strategy
  Online compilation
    Generalized fault-tolerant application model
    List Scheduling compilation strategy
    Redundancy optimization strategy
      For sensor and CCD-camera
Our online strategy obtains better quality results

## Slide 25: Outline
Background and motivation
System models
Compilation for error recovery
  Problem formulation and example
  Redundancy Optimization Strategy
  Experimental results
Synthesis of application-specific architectures
  Problem formulation and example
  Tabu-Search synthesis strategy
  Fault-tolerant architecture evaluation
  Experimental results
Contributions
Conclusions

## Slide 26: Application-specific biochips
Biochip for sample preparation
(Nugen Technlogies, Inc.)
Biochip for newborn screening
(Advanced Liquid Logics, Inc.)

## Slide 27: Application-specific architecture models
Component library
Fluidic library
Total Cost = Cost of components + Cost of fluids
Circular-Route Module (CRM)

## Slide 28: Motivational Example
Application obtained by repeating 3 times the graph
Rectangular architecture
Application-specific architecture
The application-specific architecture is cheaper
Cost: 168 units
Cost: 128 units

## Slide 29: Design methodology
Architecture design
  Location of faults not known
Biochip fabrication
Biochip testing
Application compilation
Operation
Disposal
  Location of faults known

## Slide 30: Problem Formulation
Given
  Biochemical application (deadline)
  Maximum number of faults k to be tolerated
  Input libraries
Determine
  A minimum cost application-specific architecture such that
  The deadline is satisfied even for k permanent faults

## Slide 31: Tabu-Search (TS) metaheuristic
TS uses moves to explore

## Slide 32: Tabu Search
Initial architecture
Add a reservoir
Re-place the detector
Add a row of electrodes
Neighborhood of architecture solutions
Tabu list
Evaluate architectures
Diversification

## Slide 33: Tabu-Search (TS) metaheuristic
Check if the application completes
within deadline even in the case of
k permanent faults
Algorithm to test the k-vertex connectivity
in a graph, S. Even, 1975

## Slide 34: Compilation for estimation under k faults
Estimation of the application completion time for the currently evaluated architecture under the worst-case scenario
Challenge: fault scenario not known
Our approach:
  List Scheduling (fast and good quality results)
  Guess the worst-case scenario: distribute the faults
  Estimate the impact of faults on the operation execution time

## Slide 35: FA-LSR example

## Slide 36: Library build
Input
  Biochip architecture
Output
  A library of CRMs
Incremental library build algorithm
  Determine the CRMs impacted by the last move
  Adjust the CRMs
  Estimate the operation execution time for k faults

## Slide 37: Experimental results
Application-specific architectures obtained by TS
App. (ops.) | d (s) | k = 0 Arch. CRECT CTS |  |  | k = 1 Arch. CRECT CTS |  |  | k = 2 Arch. CRECT CTS |  | 
PCR (7) | 10 | 5x5 | 53 | 47 | 7x6 | 66 | 54 | 8x6 (1,1,1,0) | 72 | 61
PDNA (19) | 60 | 5x5 | 49 | 38 | 6x5 | 54 | 40 | 6x5 (1,1,1,0) | 54 | 49
IDP (71) | 200 | 5x5 | 85 | 74 | 5x5 | 90 | 84 | 5x5 (1,1,1,4) | 90 | 84
PCR Polymerase chain reaction
PDNA Interpolation for plasmid DNA
IDP Interpolation dilution of a protein
TS produces cheaper application-specific architectures
25.9 %

## Slide 38: Contributions
Synthesis of application-specific architectures
  Simulated Annealing metaheuristic
    Rectangular modules
    Worst-case operation execution overhead in case of k faults
  Tabu-Search metaheuristic
    Circular-route modules
    Estimation of operation execution overhead in case of k faults
    Incremental library build algorithm

## Slide 39: Conclusions
Compilation for error recovery
  Offline compilation
    Errors during split operations
    Considers all possible fault scenarios
    Good quality fault-tolerant schedules
  Online compilation
    Fault-tolerant general application model
    Online redundancy optimization
    Shorter application completion times
Synthesis of application-specific architectures
  Simulated Annealing metaheuristic
  Tabu-Search metaheuristic
  Fault-tolerant compilation
  Operation placement strategy
  Fault-tolerant low-cost architectures