## Slide 1
Architecture Synthesis for
Cost Constrained Fault Tolerant Biochips
M. C. Eskesen, P. Pop and S. Potluri Department of Applied Mathematics and Computer Science,
Technical University of Denmark

## Slide 2: Outline
Introduction to mVLSI
Flow-based biochips
Defects and need for reliability
Fault model and fault tolerant components
Motivational example
Problem formulation and objective
Optimization strategy
Experimental results
Conclusions

## Slide 3: Introduction to mVLSI
Source: W. Grover, “Designing, fabricating and using flow-based microfluidics:
Past successes and future challenges”, Tutorial, VLSI Design 2015

## Slide 4: Flow-based (FB) Biochips
Source: http://groups.csail.mit.edu/cag/biostream/

## Slide 5: Technology and high level abstraction
Technology:
  Multi-layer soft lithography
  Fabrication substrate – elastomers (PDMS)
a
Pressure
Source
Control Layer
Flow Layer
Valve
va
Fluidic Input
Control Pin z1
Valve
va
3D View
Top View
Glass Plate
  Source: S. R. Quake et al, “From micro- to
  nanofabrication using soft materials”, Science 2000

## Slide 6: Defects in microfabrication of FB biochips
Source: K. Hu et.al, “Testing of Flow-based Microfluidic Biochips:
Fault Modeling, Test Generation and Experimental Demonstration”, IEEE TCAD, 2014

## Slide 7: Need for Reliability
Sensitivity= positivity in disease, expressed as a % = TP/ (TP+FN) × 100
Specificity = absence of a particular disease, expressed as % = TN/ (FP+TN)× 100
TP = True Positives, the number of diseased patients correctly classified by the test
TN = True Negatives, number of non-diseased patients correctly classified by the test
FP = False Positives, the number of non-diseased patients misclassified by the test
FN = False Negatives, the number of diseased patients misclassified by the test

## Slide 8: The big picture
System Specifications
Architectural Design
Functional Design
Logic Design
Circuit Design
Physical Design
Fabrication
System Specifications
Schematic Design
Physical Design
(Flow Layer)
Application Mapping
Control Synthesis
Physical Design
(Control Layer)
Fabrication
0
0
0
0
1
1
v1
v2
...
...
...
...
...
...
...
t1
t2
t3
...
VLSI
mVLSI
X = (AB + CD)
Y= (A(B+C))

## Slide 9: The big picture
Fabrication
Testing
Add redundancy
Original netlist
Fault tolerant netlist
Biochip synthesis
Diagnosis
Recompile biochemical application
Fabricated biochip
Fault locations
Defective biochip

## Slide 10: Fault model

## Slide 11: Fault-tolerant switch design
Cost overhead: 1 extra valve per switch

## Slide 12: Fault-tolerant pump/mixer design
Cost overhead: 1 extra valve per pump

## Slide 13: Fault-tolerant channels
Cost overhead: 4 extra valves and 3 extra channels

## Slide 14: Motivational example

## Slide 15: Straightforward vs. optimized synthesis
Straightforward solution: redundancy not optimized; biochip architecture cost: 129
Optimized solution: optimal addition of redundancy biochip architecture cost: 96

## Slide 16: Problem formulation
Given
  A biochemical application and a fault model
  Characterized component model library (including fault-tolerant components)
Synthesize
  A biochip architecture
  Deciding on:
    Component allocation
    Fault-tolerant netlist generation
    Schedule for routing of fluids through the microfluidic channels
  Such that
    the cost of the architecture is minimized
    Satisfying the fault-tolerance, dependency and resource constraints
Fault Tolerant Architecture Synthesis (FTAS)
Cost = total number of valves + total number of channels in the architecture
Notes: Facilitates programmability and automation

## Slide 17: Problem formulation
Fault Tolerant Architecture Synthesis (FTAS)
Initial architecture
Application model
Component library&
Design constraints
Fault tolerant architecture
Fault model
Cost = total number of valves + total number of channels in the architecture

## Slide 18: Optimization strategy (FTAS)
Add redundant component
Make component fault-tolerant
Add redundant connection
Remove redundant component
Make component non fault-tolerant
Remove redundant connection
Design transformations

## Slide 19: Optimization strategy (FTAS)
Metaheuristic optimization: Greedily Randomized Adaptive Search Procedure (GRASP)
  Searches the solution space to minimize the objective function
  Fault scenario generation: subset of all the possible scenarios
    Each iteration applies design transformations visits a neighboring solution
      Applies a fault scenario: injects the faults in the scenario
      Determines connectivity: can I still move fluids around?
      Finish time of the application: will the application finish correctly?
      Evaluates them based on the objective, to pick or drop the neighboring solution.

## Slide 20: Optimization strategy (FTAS)
Connectivity
  1 if connected, 0 otherwise
  Determined by Breadth First Search
  Considers blocked route and valve faults on switches
Scheduling
  Maximum of 0 or δ - application deadline
  Determined by List Scheduling
  Routes determined by Breadth First Search
Physical constraints
  Sum of
    Total number of valves
    Total number of connections
Notes: Facilitates programmability and automation

## Slide 21: Optimization strategy (FTAS)
Notes: Facilitates programmability and automation

## Slide 22: Experimental Results
Name | A |  |  | ¦FS¦ | ¦FS-¦ | ASFS+ |  |  | AFTAS+ |  | 
 | ¦N¦ | ¦D¦ | Cost |  |  | ¦N¦ | ¦D¦ | Cost | ¦N¦ | ¦D¦ | Cost
S-1 | 15 | 17 | 84 | 121 | 100 | 20 | 27 | 133 | 15 | 20 | 102
PCR | 14 | 16 | 88 | 77 | 50 | 18 | 25 | 135 | 14 | 17 | 92
IVD | 52 | 78 | 274 | 841 | 100 | 57 | 92 | 379 | 52 | 78 | 279
A: Original biochip architecture
ASFS+ : Biochip architecture obtained using straightforward fault solution
AFTAS+: Biochip architecture obtained using proposed FTAS approach
N : Set of all microfluidic components in the biochip
D : Set of all microfluidic channels in the biochip

## Slide 23: Yield Results for S-1 benchmark
¦FS-¦ | AFTAS+ |  |  | ¦FST¦ | %Yield
25 | 16 | 20 | 98 | 105 | 86.8%
50 | 15 | 19 | 99 | 117 | 96.7%
121 | 15 | 19 | 102 | 121 | 100%
FS : Exhaustive set of fault scenarios based on the fault model
FS - : Chosen fraction of fault scenarios
FST : Set of fault scenarios tolerated by the architecture

## Slide 24
Thank you!

## Slide 25: Microfluidic Large Scale Integration
System Specifications
Architectural Design
Functional Design
Logic Design
Circuit Design
Physical Design
Fabrication
System Specifications
Schematic Design
Physical Design
(Flow Layer)
Application Mapping
Control Synthesis
Physical Design
(Control Layer)
Fabrication
0
0
0
0
1
1
v1
v2
...
...
...
...
...
...
...
t1
t2
t3
...
VLSI
mVLSI
X = (AB + CD)
Y= (A(B+C))

## Slide 26: Component library

## Slide 27: Optimization strategy
Fault scenario generation
  Each iteration
    Applies a fault scenario
    Determines connectivity
    Finish time, δ, of the application
Channel S1 → Mixer1 is blocked, Channel of Heater1 suffers from a block defect.
A valve in the pump of Mixer1 and the valves controlling the channel towards S3 and the channel towards S5 of S4 are stuck open
Connectivity
  1 if connected, 0 otherwise
  Determined by Breadth First Search
  Considers blocked route and valve faults on switches
Scheduling
  Maximum of 0 or δ - application deadline
  Determined by List Scheduling
  Routes determined by Breadth First Search
Physical constraints
  Sum of
    Total number of valves
    Total number of connections

## Slide 28: Implementation

## Slide 29: Experimental Setup
Implemented in
Python 3.4
Intel Xeon X5550 processor
Running at 2.65 GHz, with 24 GB RAM
One synthetic benchmark S-1
Two real-life benchmarks
IVD (In-Vitro-Diagnostics)
PCR (Polymerase-Chain-Reaction)

## Slide 30: Experimental Results